|  | NEW SOURCE Dental Dischargers |  |
| --- | --- | --- |

[Dental Rule (EPA)] This packet was prepared by the Trinity River Authority (TRA) and [Insert TRA contracting party name] to help new dental dischargers understand the Dental Rule published by the Environmental Protection Agency (EPA) on June 14, 2017. The TRA operates the local regional wastewater treatment plant and the [Insert name of TRA contracting party] is a Contracting Party of TRA. The TRA is the dental discharger’s Control Authority. The Dental Rule is in effect July 14, 2017. This packet provides a summary of the Rule. For more information, please visit the EPA website on this topic. This packet is meant to provide guidance and be a short checklist for a new dental discharger or in the case of a transfer of ownership. This packet also demonstrates the American Dental Association’s (ADA) support of removal and recycling of dental amalgam that contains mercury from the wastewater discharged to Publicly Owned Treatment Works (POTWs). The final Dental Rule contains two best management practices (BMPs) that are also supported by the ADA. Please complete the included One-Time Compliance Report and return the report per the instructions on the form. For more information on the Dental Rule, please visit the following website: https://www.epa.gov/eg/dental-effluent-guidelines

# SUMMARY OF DENTAL RULE

| What is the Dental Rule?1 | - Requires dental offices that discharge wastewater that contains dental amalgam to Publicly Owned Treatment Works (POTWs) to install, inspect, and maintain a dental amalgam separator. - Requires the implementation of two best management practices (BMPs). - Published in Federal Register by EPA on June 14, 2017. - EPA estimates annual cost incurred by dental office: avg. of $800 annually. |  |
| --- | --- | --- |
| Why are standards needed?1 | - Mercury from waste amalgam can end up in the environment from the POTW through incineration, landfilling, or land application. - Mercury – potent neurotoxin that causes wide range of health issues. |  |
| Who is affected by the Dental Rule?1 | Applies to: - Dental offices - Dental schools - Dental clinics - Government operated dental facilities | Does NOT apply to: - Mobile units - Practices consisting ONLY of these specialties: oral pathology, oral & maxillofacial radiology/surgery, orthodontics, periodontics, or prosthodontics. |
| What kind of amalgam separator is required?2 | - Amalgam separator(s) compliant with ISO11143 (2008); ANSI/ADA 108-2009; or, - Amalgam removal device(s) that determine the removal efficiency of the device using the procedures found in 40CFR §441.30(a)(2)(i)-(ii). - Amalgam separator(s) or Amalgam removal device(s) must achieve 95% removal efficiency. |  |
| When will this rule affect dental offices?2 | The Effective Date of this rule is July 14, 2017. NEW dental offices: - MUST return One-Time Compliance Report within 90 days following the introduction of wastewater to the sanitary sewer. TRANSFER OF OWNERSHIP: - MUST return One-Time Compliance Report within 90 days after a transfer of ownership. |  |
| What steps are needed to be taken to come into compliance? | - Install new amalgam separator(s) or amalgam removal device(s) in offices that do not currently have one. - Inspect existing models to make sure they are up to standard. - Establish internal documentation tracking procedures related to the inspection and maintenance of your amalgam separator(s) or amalgam removal device(s). - Follow the ADA’s Best Management Practices for handling dental amalgam. - Complete the One-Time Compliance Report for Dental Discharges. MUST be returned to the Control Authority (TRA) AND the City/Town. Retain a copy of this report on site for the duration of your practice/ownership. |  |

ONE-TIME COMPLIANCE REPORT MUST BE RETURNED TO TRA AND THE [Insert contracting part name] WITHIN 90 DAYS FOLLOWING THE INTRODUCTION OF AMALGAM WASTEWATER INTO THE SANITARY SEWER OR 90 DAYS AFTER A TRANSFER OF OWNERSHIP. PLEASE EMAIL FORM TO BOTH PARTIES.

# American Dental Association

# Amalgam Waste Best Management Practices3

These Best Management Practices for Amalgam Waste encourages the dental community to follow the BMP for proper waste handling and disposal. The BMP by the American Dental Association calls for the use of ISO 11143-compliant amalgam separator as a recommendation. The ADA’s BMP on Amalgam Waste follows the procedures outlined in the EPA’s final rule on amalgam separators.

| ## Do: - Use precapsulated alloys & stock capsule size variety - Recycle used disposable amalgam capsules - Salvage, store, & recycle non-contact amalgam - Salvage contact amalgam pieces from restorations after removal & recycle contents - Recycle teeth containing dental amalgam restorations & verify whether or not teeth need disinfection - Manage amalgam waste through recycling as much as possible - Use line cleaners that minimize dissolution of amalgam | ## Don’t: - Use bulk mercury - Put used disposable amalgam capsules in biohazard containers - Put non-contact amalgam waste in biohazard containers, infectious waste containers, or regular garbage - Rinse devices containing amalgam over drains or sinks - Dispose of extracted teeth that contain amalgam restorations in biohazard containers. Infectious waste containers, sharps containers, or regular garbage - Flush amalgam down the drain/toilet - Use bleach or chlorine-containing cleaners to flush wastewater lines |
| --- | --- |

# Resources

- U.S. Environmental Protection Agency. Fact Sheet: Effluent Limitations Guidelines and Standards for Dental Offices. Accessed June 29, 2017.

- U.S. Environmental Protection Agency. Effluent Limitations Guidelines and Standards for the Dental Category. Accessed June 29, 2017.

- American Dental Association. Amalgam Separators and Waste Best Management. Accessed June 29, 2017.